## Experiment 1
Blank |  |  | No termination |  |  | Matched load |  |  | Stub Tuner |  |  | Bias Voltage | 10.3 | V | Comments:
position (cm) | amplitude, delta y (mV) | max/min | distance (cm) | amplitude, delta y (mV) | max/min | distance (cm) | amplitude, delta y (mV) | max/min | distance (cm) | amplitude, delta y (mV) | max/min | Micrometer | 3.5 | mm | The blank component is suppose to be metal in order to form a short circuit
6.6 | -7 |  | 6.6 | -6.8 |  | 6.6 | -8.4 | max | 6.6 | -8.6 | max |  |  |  | Chose 4 max and 4 min to have 3 measurements and cal
6.9 | -21.2 |  | 6.9 | -5.8 | min | 6.9 | -8.2 |  | 6.9 | -8.4 |  | 2022-09-27 |  |  | Had to go back to the blank measurements because we did not have enough data
7.2 | -27 | max | 7.2 | -7.6 |  | 7.5 | -8 | min | 7.2 | -8.2 |  |  |  |  | for matched load, the max and mins are indistinguishable
7.5 | -23 |  | 7.5 | -10.2 |  | 8.1 | -8.2 |  | 7.5 | -8 | min
7.8 | -10 |  | 7.8 | -11.4 |  | 8.4 | -8.4 | max | 7.8 | -8.2
8.1 | -1 | min | 7.9 | -11.6 | max | 8.7 | -8.4 |  | 8.1 | -8.4
8.4 | -4 |  | 8.1 | -10.4 |  | 9 | -8.2 |  | 8.4 | -8.6 | max
8.7 | -14.4 |  | 8.4 | -8.2 |  | 9.3 | -8 | min | 8.7 | -8.6
9 | -24 |  | 8.7 | -6 |  | 9.6 | -8.2 |  | 9 | -8.4
9.3 | -24.4 | max | 8.8 | -5.8 | min | 9.9 | -8.2 |  | 9.3 | -8 | min
9.6 | -16.2 |  | 9 | -6.6 |  | 10.2 | -8.6 | max | 9.6 | -8.2
9.9 | -5.2 |  | 9.3 | -8.8 |  | 10.5 | -8.6 |  | 9.9 | -8.4
10.1 | -0.6 |  | 9.6 | -11 |  | 10.8 | -8.6 |  | 10.2 | -8.4
10.15 | -0.4 | min | 9.8 | -11.6 | max | 11.1 | -8.2 |  | 10.5 | -8.6 | max
10.2 | -0.8 |  | 9.9 | -11.4 |  | 11.4 | -8 | min | 10.8 | -8.6
10.5 | -8 |  | 10.2 | -9.4 |  | 11.7 | -8.2 |  | 11.1 | -8.4
10.8 | -19.8 |  | 10.5 | -7 |  | 12 | -8.4 |  | 11.4 | -8.2
11.1 | -26.2 |  | 10.8 | -5.8 | min | 12.3 | -8.6 | max | 11.7 | -8 | min
11.15 | -26.4 | max | 11.1 | -7.2 |  | 12.6 | -8.4 |  | 12 | -8.2
11.2 | -26 |  | 11.4 | -9.8 |  | 12.9 | -8.2 |  | 12.3 | -8.4
11.4 | -23 |  | 11.7 | -11.4 |  | 13.2 | -8 | min | 12.6 | -8.6 | max
11.7 | -7.4 |  | 11.8 | -11.6 | max |  |  |  | 12.9 | -8.6
12 | -1.6 |  | 12 | -10.8 |  |  |  |  | 13.2 | -8.4
12.1 | -0.4 | min | 12.3 | -8.4
12.3 | -2.6 |  | 12.6 | -6.2
12.6 | -13.2 |  | 12.75 | -5.6 | min |  |  |  | no stub | 11.4 | max
12.9 | -23 |  | 12.9 | -6 | [5 empty] | 5.4 | min
13.1 | -25 | max | 13.2 | -8.4 |  |  |  |  | 3rd stub | 8.6 | max
13.2 | -24.6 |  | 13.5 | -10.8 | [5 empty] | 8.1 | min
13.5 | -17.4 |  | 13.6 | -11.4 | max
13.8 | -6.6 |  | 13.8 | -11.2
14.1 | -0.4 | min
14.4 | -6.6
2022-09-27

## Experiment 2
maximum (11 cm on slotted wg) |  |  |  | minimum (12.1 cm on slotted wg) |  |  |  | Comment
15 mm out |  | 25 mm in |  | 15 mm out |  | 25 mm in |  | The shape of the curve is not constantly square and becomes distorted
position (mm) | amplitude (mV) | position (mm) | amplitude (mV) | position (mm) | amplitude (mV) | position (mm) | amplitude (mV) | These values are lambda/2
19.24 | -16.6 | 19.23 | -16.4 | 19.24 | -3.4 | 19.24 | -3.6 | When detector is set to minima, the amplitude suddenly increases at resonance
19.24 | -17 | 19.235 | -16.2 | 19.25 | -3.2 | 19.23 | -3.6 | Since the micrometre has no threads, the uncertainty of the micrometer cause the uncertainty in the measurement
19.23 | -16 | 19.23 | -16 | 19.24 | -3.6 | 19.235 | -3.6
19.23 | -16 | 19.23 | -16 | 19.235 | -3.6 | 19.23 | -3.4
19.22 | -16.2 | 19.225 | -16.2 | 19.25 | -3.2 | 19.25 | -3.4
| lambda_g= | 3.8471 | cm
2022-09-27

## Experiment 3
3.4 cm out |  | 4.5 cm in
position (cm) | amplitude (mV) | position (cm) | amplitude (mV)
3.915 | -16.6 | 3.915 | -17.6
3.916 | -18.6 | 3.916 | -17.8
3.915 | -17.4 | 3.916 | -17
3.915 | -17.6 | 3.916 | -17
3.917 | -19 | 3.916 | -17.6
| lambda_g= | 3.9157 | cm
2022-09-27

## Experiment 4
position (cm) | R_max | position (cm) | R_min | ratio | position of microscope (cm) | R_max | position of microscope (cm) | R_min | ratio | max-min
8.5 | -9.6 | 7.5 | -6.8 | 1.4118 | 40.5 | -10 | 41.2 | -4.8 | 2.0833 | 0.7 | precision of oscilliscope
10.5 | -9.4 | 9.6 | -6.8 | 1.3824 | 40.6 | -10 | 41.1 | -5.2 | 1.9231 | 0.5 |  | 0.025725
12.4 | -9.4 | 11.5 | -6.8 | 1.3824 | 42 | -10 | 42.75 | -4.8 | 2.0833 | 0.75
14.5 | -9.2 | 13.5 | -6.8 | 1.3529 | 43.5 | -10 | 44.2 | -4.6 | 2.1739 | 0.7
[5 empty] | 44.9 | -9.6 | 45.8 | -5 | 1.92 | 0.9
2022-09-27 |  |  |  |  | 46.7 | -9.6 | 47.25 | -5 | 1.92 | 0.55
[5 empty] | 48.1 | -9.6 | 48.9 | -5 | 1.92 | 0.8
[5 empty] | 49.6 | -9.6 | 50.3 | -5 | 1.92 | 0.7
[5 empty] | 51 | -9.6 | 51.8 | -5 | 1.92 | 0.8
[9 empty] | average lambda | 1.4222

## Experiment 6
Action | Observation | 2022-11-01
Pushing Padding Attenuator in and out | When the attenuator is fully out, the square wave is at a minima. When the attenuator is fully in, the square wave is at a maxima
atten out hand | Doppler shift, and inverse square law
atten in hand | No fluctuations (due to no voltage)
walking in front of horn approx 2.5 metres away | had to zoom in 10 times from 2.00V to 200 mV to see signal. Small due to inverse square law. Small fluctuations
human | small fluctuations
metal plate | large fluctuations
paper plate | slightly larger than human
Comment:
Remember to switch the oscillator to AC fluctuations to avoid having to adjust the centre of the graph everytime the scale is changed

## Experiment 7
time (s) | number of oscillations | from end of track to horn | 51 cm | time (s) |  | 2022-11-01
1 | 11.5 | delta f | 11.5 Hz | 2.2
1 | 11.5 | f | 10 GHz | 2.51
1 | 11 | width of wave guide | 2.5 cm | 2.18
1 | 10.5 |  |  | 2.16
1 | 14 |  |  | 3.13
1 | 11 |  |  | 3.3
average delta f | 11.5833 |  |  | 3.15
speed | 0.17375 |  |  | 3.28
3.2
|  |  |  | average | 2.79
|  |  |  | speed | 0.1828

## Additional
Taping aluminium to a rotational device and elevating such that it is aliogned with the wave | 2022-11-01
Using a small pendulum to see the period of oscillation